 Certitude Water Distribution Controller
# Abstract
The project outline is to design, build and test an embedded control system to sequence the distribution of the water from the main bore wells to all the residential water storage tanks in Certitude community. The sequence of valve control as currently operated will be documented first. This sequence today is executed in order to properly match the water pressure in the water pump and flow control into one or two houses at a time to push the water upto the overhead tanks. In order to stop the overflow and cut off the intake valve at a residence, water level sensors in each tank will be installed. As each overhead tank is full, its intake valve is closed by the controller and when all the overhead tanks have been filled, the pump motor is automatically turned off. A timer is started when the controller is turned on. The pump motor should not ever run more than x (predetermined) duration and when that time duration is exceeded, the motor also will be switched off and an alarm Lamp indicator turn-on.
## Project Design:
The basic function of a water distribution system is to transport the water from the bore well to a residence overhead tank. The system can provide automatic control of water distribution. The system can also be augmented to provide flow measurement based on the water pipe diameter and flow time.

Documentation of the Manual Process
Create and fill the spreadsheet to monitor the valve sequence. Monitor and write down the time taken in minutes to fill each overhead tank.

Block Level Design
The embedded controller design has to be first done at block diagram level. (Identify the primary inputs to this controller. Identify all the outputs to controller)

# Water supply

Water Supply is the provision of water by commercial community endeavours or by individuals, usually via a system of pumps and pipes. Irrigation is covered separately.In this project the conception of the two level control in the complex water supply system will be presented. In this water supply providing from two source of wells.
The supply goes to the places of

## Well 1(v1-v15) -Well 2(v16-v24)
## Valve No: Water Supply To:
  v1-v24 Sport toilets and drinking water tank..........angles tank
# Key elements:
## Source of water: Well 1,2
1. Yellow tank
2. Volves-24
3. Distribution pumps
4. Sensors for providing a alert signal
5. The distributions of water supply calculates based on time and frequency

# Problems to solve
1.To avoid overflow of water
2.To avoid improper usage of water.
3.To save water for future generation
## Current Situation
Currently the certitude water distribution handled by manually. A man can control the system manually.
## Proposed Solution:
In our project proposed system is going to handle the systems artificially i.e the help of the automatic water controlling system, and sensors. Suppose if water flows continuously without any intimation when the sensors will use to avoid that. In time and the frequency is the major sources of our project .It will calculate rate of water flows every houres.We use here some of the embedded concepts also .
## The key features of the project going to handle:
1.Time taken by the tank and size of the tank
2.Frequency and the time
3.Valve no & steward name